Bergsten Diffraction Plates, Palmyra WI 53156

| Slide Number | a | b | c | d |
| --- | --- | --- | --- | --- |
| 1 | Random Array of Dots | One Row of Dots Spaced 0.12 mm | One Row of Dots Spaced 0.08 mm | One Row of Dots Spaced 0.06 mm |
| 2 | Two Rows of Dots Spaced 0.12x0.08 mm | Three Rows of Dots Spaced 0.12x0.08 mm | Four Rows of Dots Spaced 0.12x0.08 mm | Rect. Array of Dots Spaced 0.12x0.08 mm |
| 3 | One Row of Dots Spaced 0.08 mm | Two Rows of Dots Spaced 0.08 mm, at 60o | Three Rows of Dots Spaced 0.08 mm, at 60o | Hex. Array of Dots Spaced 0.08 mm |
| 4 Layers spaced approx. 0.88 mm | Two Layers of Dots Random Arrays | Two Layers of Dots Hex. Arrays 0.1mm | Two Layers of Dots Rect Arrays 0.12x0.18 | Two Layers of Dots Rect. Arrays 0.08x0.12 |
| 5 | Random Array of *’s Size 0.1 mm | Random Array of *’s Size 0.05 mm | Random Array of S’s Size 0.1 mm | Random Array of S’s Size 0.05 mm |
| 6 | Random Array of A’s | One Row of A’s Spaced 0.07 mm | Rect. Lattice of A’s Spaced 0.07x0.14 mm | Hex Lattice of A’s Spaced 0.14 mm. |
| 7 | Rectangular Lattice Spaced 0.024x0.04 mm | Face-Centered Rect. Lattice Spaced 0.024x0.04 mm. | Side-Centered Rect. Lattice Spaced 0.024x0.04 | Random Array of :Size of : is 0.012x0.02 mmSi |
| # Newport | Target Mesh |  |  |  |
| Newport | TP2 | Hole 0.002” dia. |  |  |
| Newport | TP3 | Hole .08” dia. |  |  |
| Newport | TF | Fresnel Target |  |  |
| Newport | TSS | Single Slit 0.002” wide |  |  |
| Newport | TDS | Dual Slit 0.002” wide 0.008” space |  |  |
| Ealing Pinholes | 1000, 800, 600, 400, 200, 100, 50, 35, 25 m |  |  |  |